## Info
Sample Name | Comparstic2026 PET Kev 260401
Analysis Name | Comparstic2026 PET A Kev 260401 1
Instrument Name | Agilent 8700 LDIR Chemical Imaging System
Serial | MY2138LD01
Software | Clarity
Version | 1.7.27
Analysis Date | 2026-04-01 11:12
Report Date | 2026-07-23 14:22
Particles Analyzed | 40
Wavenumber | 1442

## Particles
# | Id | Width (µm) | Height (µm) | Diameter (µm) | Aspect Ratio | Area (µm²) | Perimeter (µm) | Eccentricity | Circularity | Solidity | Identification | Notes | Match Type | Quality | Is Valid
1 | A1 | 349 | 217 | 236.9596 | 1.6107 | 44100 | 1203.9697 | 0.52011 | 0.38231 | 0.75304 | Polyethylene terephtalate (PET) |  | Auto | 0.97118 | true
2 | A2 | 147 | 428 | 210.4208 | 0.34281 | 34775 | 1262.9646 | 0.95215 | 0.27396 | 0.6955 | Polyethylene terephtalate (PET) |  | Auto | 0.98716 | true
3 | A3 | 249 | 206 | 202.0082 | 1.2088 | 32050 | 912.5483 | 0.76963 | 0.48364 | 0.78338 | Polyethylene terephtalate (PET) |  | Auto | 0.98395 | true
4 | A4 | 318 | 177 | 201.4165 | 1.7918 | 31862.5 | 1086.1879 | 0.54616 | 0.33937 | 0.72787 | Polyethylene terephtalate (PET) |  | Auto | 0.98057 | true
5 | A5 | 191 | 205 | 197.5066 | 0.93103 | 30637.5 | 670.6245 | 0.77802 | 0.85606 | 0.98197 | Polyethylene terephtalate (PET) |  | Auto | 0.96976 | true
6 | A6 | 209 | 185 | 191.1179 | 1.1312 | 28687.5 | 702.3402 | 0.7463 | 0.73082 | 0.9169 | Polyethylene terephtalate (PET) |  | Auto | 0.98873 | true
7 | A7 | 207 | 175 | 170.9876 | 1.1834 | 22962.5 | 724.7666 | 0.76283 | 0.54933 | 0.83996 | Polyethylene terephtalate (PET) |  | Auto | 0.98807 | true
8 | A8 | 169 | 183 | 166.3164 | 0.9252 | 21725 | 608.7006 | 0.70626 | 0.73682 | 0.93541 | Polyethylene terephtalate (PET) |  | Auto | 0.98262 | true
9 | A9 | 156 | 198 | 165.9331 | 0.78683 | 21625 | 705.2691 | 0.81942 | 0.54633 | 0.84804 | Polyethylene terephtalate (PET) |  | Auto | 0.98178 | true
10 | A10 | 137 | 256 | 165.549 | 0.53664 | 21525 | 753.5534 | 0.90257 | 0.47635 | 0.80317 | Polyethylene terephtalate (PET) |  | Auto | 0.98234 | true
11 | A11 | 173 | 163 | 163.7608 | 1.0652 | 21062.5 | 559.9138 | 0.74915 | 0.84426 | 0.97738 | Polyethylene terephtalate (PET) |  | Auto | 0.97961 | true
12 | A12 | 145 | 200 | 163.1279 | 0.725 | 20900 | 582.8427 | 0.64038 | 0.77313 | 0.95379 | Polyethylene terephtalate (PET) |  | Auto | 0.98041 | true
13 | A13 | 143 | 223 | 160.9177 | 0.64261 | 20337.5 | 664.0559 | 0.80225 | 0.57956 | 0.85094 | Polyethylene terephtalate (PET) |  | Auto | 0.94659 | true
14 | A14 | 182 | 142 | 151.9127 | 1.2874 | 18125 | 566.9848 | 0.57037 | 0.70851 | 0.92711 | Polyethylene terephtalate (PET) |  | Auto | 0.98103 | true
15 | A15 | 138 | 170 | 150.9141 | 0.8125 | 17887.5 | 515.7716 | 0.77101 | 0.84498 | 0.96951 | Polyethylene terephtalate (PET) |  | Auto | 0.98949 | true
16 | A16 | 110 | 152 | 129.0256 | 0.72093 | 13075 | 491.127 | 0.82309 | 0.68118 | 0.92566 | Polyethylene terephtalate (PET) |  | Auto | 0.96696 | true
17 | A17 | 92 | 159 | 120.61 | 0.57746 | 11425 | 442.132 | 0.84445 | 0.73445 | 0.94227 | Polyethylene terephtalate (PET) |  | Auto | 0.97133 | true
18 | A18 | 145 | 113 | 120.544 | 1.2813 | 11412.5 | 463.3452 | 0.76223 | 0.66801 | 0.91759 | Polyethylene terephtalate (PET) |  | Auto | 0.98318 | true
19 | A19 | 105 | 130 | 113.19 | 0.80769 | 10062.5 | 406.7767 | 0.71194 | 0.76419 | 0.95041 | Polyethylene terephtalate (PET) |  | Auto | 0.98607 | true
20 | A20 | 106 | 117 | 112.9789 | 0.90909 | 10025 | 386.2742 | 0.78147 | 0.84431 | 0.96977 | Polyethylene terephtalate (PET) |  | Auto | 0.98141 | true
21 | A21 | 110 | 75 | 87.9485 | 1.4667 | 6075 | 311.4214 | 0.78465 | 0.78715 | 0.95669 | Polyethylene terephtalate (PET) |  | Auto | 0.97986 | true
22 | A22 | 70 | 117 | 81.3686 | 0.59322 | 5200 | 349.7056 | 0.78932 | 0.53433 | 0.81729 | Polyethylene terephtalate (PET) |  | Auto | 0.97905 | true
23 | A23 | 80 | 60 | 71.365 | 1.3333 | 4000 | 250.7107 | 0.63858 | 0.79969 | 0.96096 | Polyethylene terephtalate (PET) |  | Auto | 0.97914 | true
24 | A24 | 62 | 77 | 68.5206 | 0.79592 | 3687.5 | 236.066 | 0.74392 | 0.83152 | 0.95161 | Polyethylene terephtalate (PET) |  | Auto | 0.98152 | true
25 | A25 | 65 | 75 | 67.2309 | 0.86667 | 3550 | 238.9949 | 0.55575 | 0.78102 | 0.95623 | Polyethylene terephtalate (PET) |  | Auto | 0.97434 | true
26 | A26 | 111 | 47 | 64.5744 | 2.3699 | 3275 | 273.1371 | 0.84282 | 0.55165 | 0.85902 | Polyethylene terephtalate (PET) |  | Auto | 0.96451 | true
27 | A27 | 67 | 53 | 59.1727 | 1.2667 | 2750 | 198.9949 | 0.65088 | 0.87269 | 0.97345 | Polyethylene terephtalate (PET) |  | Auto | 0.98836 | true
28 | A28 | 40 | 45 | 41.8414 | 0.88889 | 1375 | 146.5685 | 0.65467 | 0.80432 | 0.9322 | Polyethylene terephthalate |  | User | 0.81399 | true
29 | A29 | 40 | 45 | 40.4882 | 0.88889 | 1287.5 | 153.6396 | 0.66703 | 0.68541 | 0.88793 | Polyamide (PA) |  | Auto | 0.84302 | true
30 | A30 | 30 | 55 | 39.2913 | 0.54545 | 1212.5 | 149.4975 | 0.8354 | 0.68175 | 0.92381 | Polyethylene terephtalate (PET) |  | Auto | 0.9661 | true
31 | A31 | 60 | 25 | 38.8841 | 2.4545 | 1187.5 | 153.6396 | 0.48468 | 0.63217 | 0.93137 | Polyethylene terephtalate (PET) |  | Auto | 0.94129 | true
32 | A32 | 35 | 35 | 33.8514 | 1 | 900 | 116.5685 | 0.7133 | 0.83232 | 0.94737 | Polyethylene terephtalate (PET) |  | Auto | 0.94217 | true
33 | A33 | 30 | 30 | 32.1638 | 1 | 812.5 | 105.3553 | 0.67462 | 0.91986 | 1 | Polyethylene terephtalate (PET) |  | Auto | 0.88057 | true
34 | A34 | 20 | 35 | 26.4628 | 0.57143 | 550 | 92.4264 | 0.76826 | 0.80906 | 0.97778 | Tire |  | Auto | 0.68198 | true
35 | A35 | 30 | 20 | 23.9365 | 1.5 | 450 | 88.2843 | 0.64489 | 0.72553 | 0.94737 | Polyamide (PA) |  | Auto | 0.7342 | true
36 | A36 | 21 | 25 | 23.6017 | 0.85714 | 437.5 | 83.6396 | 0.75964 | 0.78589 | 0.94595 | Polyamide (PA) |  | Auto | 0.67046 | true
37 | A37 | 35 | 15 | 22.9175 | 2.3333 | 412.5 | 85.3553 | 0.73681 | 0.7115 | 0.97059 | Polyethylene terephthalate |  | User | 0.69598 | true
38 | A38 | 30 | 20 | 21.851 | 1.5 | 375 | 88.2843 | 0.47804 | 0.60461 | 0.81081 | Polyether sulphone (PES) |  | Auto | 0.64739 | true
39 | A39 | 10 | 45 | 21.11 | 0.22222 | 350 | 104.1421 | 0.84472 | 0.40553 | 0.90323 | Polyethylene terephtalate (PET) |  | Auto | 0.90483 | true
40 | A40 | 20 | 30 | 20.3421 | 0.66667 | 325 | 88.2843 | 0.85675 | 0.52399 | 0.8125 | Polyamide (PA) |  | Auto | 0.79674 | true